## Ratios
Ratio of Sellers |  | 25% |  |  |  |  | 50% |  |  |  |  | 75%
Number of Users |  | 40 | 80 | 120 | 160 | 200 | 40 | 80 | 120 | 160 | 200 | 40 | 80 | 120 | 160 | 200
Buyer | % from P2P | 46.9083 | 47.9815 | 47.5985 | 48.6435 | 47.4943 | 53.926 | 50.1219 | 52.25 | 51.5463 | 52.3627 | 56.0476 | 55.143 | 53.1991 | 51.0243 | 52.4341
| % from supp. | 53.0917 | 52.0185 | 52.4015 | 51.3565 | 52.5057 | 46.074 | 49.8781 | 47.75 | 48.4537 | 47.6373 | 43.9524 | 44.857 | 46.8009 | 48.9757 | 47.5659
% Prosumer ratio |  | 48.75 | 47.7083 | 48.1944 | 47.5 | 47.5833 | 47.7083 | 47.5 | 47.5 | 47.8646 | 47.6667 | 48.1944 | 47.5 | 47.5926 | 47.6736 | 47.75
cons. | % from gen | 18.2758 | 14.4279 | 15.8353 | 14.1977 | 13.2831 | 14.4279 | 14.1977 | 12.9329 | 13.5381 | 13.8029 | 15.8353 | 12.9329 | 12.998 | 13.5612 | 12.7974
| % from supp | 81.7242 | 85.5721 | 84.1647 | 85.8023 | 86.7169 | 85.5721 | 85.8023 | 87.0671 | 86.4619 | 86.1971 | 84.1647 | 87.0671 | 87.002 | 86.4388 | 87.2026
with smaller battery (10kw)
with BATTERY
Ratio of Sellers |  | 25% |  |  |  |  | 50% |  |  |  |  | 75%
Number of Users |  | 40 | 80 | 120 | 160 | 200 | 40 | 80 | 120 | 160 | 200 | 40 | 80 | 120 | 160 | 200
Buyer | % from P2P | 95.3397 | 95.2363 | 94.9514 | 95.2135 | 94.6035 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
| % from supp. | 4.6603 | 4.7637 | 5.0486 | 4.7865 | 5.3965 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
% Prosumer ratio |  | 9.5833 | 8.125 | 10 | 9.0625 | 8.75 | 1.25 | 2.1875 | 2.0139 | 2.2396 | 2.0417 | 2.0833 | 1.5278 | 1.4352 | 1.3889 | 1.1389
cons. | % from gen + batt | 30.2555 | 22.9916 | 26.5424 | 27.1493 | 24.994 | 31.4445 | 38.4435 | 42.4616 | 42.85 | 44.2066 | 52.0427 | 54.8492 | 56.2525 | 56.7882 | 57.4741
| % from supp | 69.7445 | 77.0084 | 73.4576 | 72.8507 | 75.006 | 68.5555 | 61.5565 | 57.5384 | 57.15 | 55.7934 | 47.9573 | 45.1508 | 43.7475 | 43.2118 | 42.5259
Total Volumes
increased PV to prove that increment doesn’t effect the results
show ratios for excess electricity % to P2P market
best way to convey the message
I will include winter
Ratio of Sellers |  | 25% |  |  |  |  | 50% |  |  |  |  | 75%
Number of Users |  | 40 | 80 | 120 | 160 | 200 | 40 | 80 | 120 | 160 | 200 | 40 | 80 | 120 | 160 | 200
Buyer | Total from P2P
Total from supp.
Sellers % Ratio in Prosumers
Sellers | Total to P2P
Total to supp.
Cons. | Total from self gen.
Total from supp.
with smaller battery (10kw)
with BATTERY
Ratio of Sellers |  | 25% |  |  |  |  | 50% |  |  |  |  | 75%
Number of Users |  | 40 | 80 | 120 | 160 | 200 | 40 | 80 | 120 | 160 | 200 | 40 | 80 | 120 | 160 | 200
Buyer | Total from P2P
Total from supp.
Sellers % Ratio in Prosumers |  | 90.4167 | 91.875 | 90 | 90.9375 | 91.25 | 98.75 | 97.8125 | 97.9861 | 97.7604 | 97.9583 | 97.9167 | 98.4722 | 98.5648 | 98.6111 | 98.8611
Sellers | Total to P2P
Total to supp.
Cons. | Total from self gen. + Batt
Total from supp.

## distributions
Distribution of energy within the P2P market on April 21st, 2016
Ratio of Sellers |  | 25% |  |  |  |  | 50% |  |  |  |  | 75%
Number of Users |  | 40 | 80 | 120 | 160 | 200 | 40 | 80 | 120 | 160 | 200 | 40 | 80 | 120 | 160 | 200
Buyer | Total from P2P
Total from supp.
Sellers % Ratio in Prosumers
Sellers | Total to P2P
Total to supp.
Cons. | Total from self gen.
Total from supp.
Distribution of energy within the P2P market on April 21st, 2016, when users are equipped battery
Ratio of Sellers |  | 25% |  |  |  |  | 50% |  |  |  |  | 75%
Number of Users |  | 40 | 80 | 120 | 160 | 200 | 40 | 80 | 120 | 160 | 200 | 40 | 80 | 120 | 160 | 200
Buyer | Total from P2P
Total from supp.
Sellers % Ratio in Prosumers
Sellers | Total to P2P
Total to supp.
Cons. | Total from self gen.
Total from supp.
Distribution of energy within the P2P market on November 6th, 2016
Ratio of Sellers |  | 25% |  |  |  |  | 50% |  |  |  |  | 75%
Number of Users |  | 40 | 80 | 120 | 160 | 200 | 40 | 80 | 120 | 160 | 200 | 40 | 80 | 120 | 160 | 200
Buyer | Total from P2P
Total from supp.
Sellers % Ratio in Prosumers
Sellers | Total to P2P
Total to supp.
Cons. | Total from self gen.
Total from supp.
Distribution of energy within the P2P market on November 6th, 2016, when users are equipped battery
Ratio of Sellers |  | 25% |  |  |  |  | 50% |  |  |  |  | 75%
Number of Users |  | 40 | 80 | 120 | 160 | 200 | 40 | 80 | 120 | 160 | 200 | 40 | 80 | 120 | 160 | 200
Buyer | Total from P2P
Total from supp.
Sellers % Ratio in Prosumers
Sellers | Total to P2P
Total to supp.
Cons. | Total from self gen.
Total from supp.

## profits_costs
Ratio of Sellers |  | 25% |  |  |  |  | 50% |  |  |  |  | 75%
Number of Users |  | 40 | 80 | 120 | 160 | 200 | 40 | 80 | 120 | 160 | 200 | 40 | 80 | 120 | 160 | 200
No Market | Total Profits Prosumers
Total Costs Buyers
PFET | Total Profits Prosumers | 3.2475 | 8.953 | 14.4279 | 20.7175 | 23.4634 | 8.4647 | 19.7832 | 29.1373 | 0.14 | 0.62 | 11.629 | 25.3202 | 0.13989 | 0.90895 | 1.0106
Total Costs Buyers
PP-LEM | Total Profits Prosumers
Total Costs Buyers
with BATTERY
Ratio of Sellers |  | 25% |  |  |  |  | 50% |  |  |  |  | 75%
Number of Users |  | 40 | 80 | 120 | 160 | 200 | 40 | 80 | 120 | 160 | 200 | 40 | 80 | 120 | 160 | 200
No Market | Total Profits Prosumers
Total Costs Buyers
PFET | Total Profits Prosumers | 22.6985 | 47.553 | 14.9341 | 52.1187 | 56.7789 | 555.5446 | 1013.7377 | 1595.9365 | 2051.1645 | 2614.4519 | 909.0549 | 1919.9384 | 2876.2735 | 3784.6201 | 4802.4635
Total Costs Buyers
PP-LEM | Total Profits Prosumers
Total Costs Buyers
from supplier | volumes bought and sold
P2P